## Overview
Default Baseline Values for National Grid - DSO's Flexibility Services
Last Reviewed | 2026-08-18
Effective Date | 2027-04-01
This spreadsheets provides the latest Default Baseline Values for National Grid - DSO's Flexibility Services.
Details on how the fixed reference values are calculated are available in the our Guidance for Electricity Distribution Flexibility Service Providers
Details on the Standard Baselining Methodologies used are available in the Elexon's Flexiblity Market Rule: Standard Baselining Methodologies
We reserve the right to update the fixed reference values on a regular basis
If you have any further questions please email
NGED.Flexiblepower@nationalgrid.co.uk
User Guidance: The slicer in the top-right corner of the Default Baselines sheet may be used to filter and display the required data.
Note 1 - Where muliple assets are sited at the same property and metered at the point of connection, the relevant 'Flexible Site Demand' fixed reference value should be deducted for each additional asset beyond 1 in order to avoid including the 'Flexible Site Demand' fixed reference value multiple times
Note 2 - The application of the values in the Default Baseline sheet can be either positive or negative dependant on response type as per the table below;
Response Type | Direction | Abbrev' | Baseline Values | Metering readings
Demand | Turn Down | DTD | Negative | Negative
Demand | Turn Up | DTU | Negative | Negative
Generation | Turn Up | GTU | Positive | Positive
Generation | Turn Down | GTD | Positive | Positive
Note 3 - The summer and winter seasonal periods are defined as follows:
Summer: Week 13 (April) to Week 38 (September)
Winter: Week 39 (October) to Week 12 (March)

## Technology Categories
Generation and Storage Technology | Consolidated Category
Advanced Fuel (produced via gasification or pyrolysis of biofuel or waste) | Schedulable Generation
Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Schedulable Generation
Biofuel - Landfill gas | Schedulable Generation
Biofuel – Other | Schedulable Generation
Biofuel - Sewage gas | Schedulable Generation
Biomass | Schedulable Generation
Fossil - Brown coal/lignite | Schedulable Generation
Fossil - Coal gas | Schedulable Generation
Fossil – Gas | Schedulable Generation
Fossil - Hard coal | Schedulable Generation
Fossil – Oil | Schedulable Generation
Fossil - Oil shale | Schedulable Generation
Fossil – Other | Schedulable Generation
Fossil – Peat | Schedulable Generation
Geothermal | Schedulable Generation
Hydrogen | Schedulable Generation
Nuclear | Schedulable Generation
Solar | Intermittent Generation
Waste | Schedulable Generation
Water (flowing water or head of water) | Intermittent Generation
Wind | Intermittent Generation
Stored Energy (all stored energy irrespective of the original energy source) | Storage

## Default Baselines
Time Period Start | Time Period End | Main Technology | Sub-Market Technology | Zone Level | Asset Scale | Metering Arrangement | Service Direction | Season | Default Baseline (kW)
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 1.088
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 1.024
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.912
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 1.038
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.40815
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.347
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.48451
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.92414
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.57303
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.34423
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.34331
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.47634
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.184
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.392
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.392
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.67
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.184
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.67
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.184
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.67
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.184
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.67
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.272
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.416
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.304
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.708
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.59215
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.739
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.87651
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.5941
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.75703
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.73623
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.73531
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.1463
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.184
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.392
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.67
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 1.948
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 2.732
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 2.58
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 2.872
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.62212
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.42487
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.6536
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 1.3779
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 1.4766
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.55936
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.56665
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.86017
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.254
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.534
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.538
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.92
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.254
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.534
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.538
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.92
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.254
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.534
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.538
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.92
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.254
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.534
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.538
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.92
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 2.202
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 3.266
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 3.118
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 3.792
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.87612
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.95887
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 1.1916
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 2.2979
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 1.7306
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 1.0934
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 1.1047
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 1.7802
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.254
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.534
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.538
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.92
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.114
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.242
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.246
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.416
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.114
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.242
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.246
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.416
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.114
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.242
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.246
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.416
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.114
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.242
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.246
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.416
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.114
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.242
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.246
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.416
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
0:00 | 2:00 | Schedulable Generation​ | Schedulable Generation​ - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
10:00 | 12:00 | Schedulable Generation​ | Schedulable Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
12:00 | 14:00 | Schedulable Generation​ | Schedulable Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
17:00 | 19:00 | Schedulable Generation​ | Schedulable Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
0:00 | 2:00 | Intermittent Generation​ | Intermittent Generation​ - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
10:00 | 12:00 | Intermittent Generation​ | Intermittent Generation​ - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
12:00 | 14:00 | Intermittent Generation​ | Intermittent Generation​ - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
17:00 | 19:00 | Intermittent Generation​ | Intermittent Generation​ - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
0:00 | 2:00 | Storage | Storage - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.254
10:00 | 12:00 | Storage | Storage - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.534
12:00 | 14:00 | Storage | Storage - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.538
17:00 | 19:00 | Storage | Storage - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.92
0:00 | 2:00 | Heat Pump | Heat Pump - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.254
10:00 | 12:00 | Heat Pump | Heat Pump - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.534
12:00 | 14:00 | Heat Pump | Heat Pump - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.538
17:00 | 19:00 | Heat Pump | Heat Pump - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.92
0:00 | 2:00 | EV Charger DSR | EV Charger DSR - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.254
10:00 | 12:00 | EV Charger DSR | EV Charger DSR - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.534
12:00 | 14:00 | EV Charger DSR | EV Charger DSR - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.538
17:00 | 19:00 | EV Charger DSR | EV Charger DSR - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.92
0:00 | 2:00 | Storage Heater | Storage Heater - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.254
10:00 | 12:00 | Storage Heater | Storage Heater - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.534
12:00 | 14:00 | Storage Heater | Storage Heater - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.538
17:00 | 19:00 | Storage Heater | Storage Heater - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.92
0:00 | 2:00 | Flexible Site Demand | Flexible Site Demand - Night | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.254
10:00 | 12:00 | Flexible Site Demand | Flexible Site Demand - Morning | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.534
12:00 | 14:00 | Flexible Site Demand | Flexible Site Demand - Afternoon | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.538
17:00 | 19:00 | Flexible Site Demand | Flexible Site Demand - Evening | LV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.92
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
All | All | Storage | Storage | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 1.05
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.83
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0.44869
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Asset Level | DTD/GTU | Summer | 0
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.57
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.57
All | All | Storage | Storage | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.57
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.62
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.4
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 1.0169
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Point of Connection | DTD/GTU | Summer | 0.57
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
All | All | Storage | Storage | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 2.82
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 1.28
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0.79722
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Asset Level | DTD/GTU | Winter | 0
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.78
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.78
All | All | Storage | Storage | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.78
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 3.6
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 2.06
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 1.5781
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Point of Connection | DTD/GTU | Winter | 0.78
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | Asset Capacity
All | All | Storage | Storage | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Asset Level | DTU/GTD | Summer | 0
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | Asset Capacity + (Flexible Site Demad) Fixed Reference
All | All | Storage | Storage | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.24
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.24
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.24
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.24
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Point of Connection | DTU/GTD | Summer | 0.24
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | Asset Capacity
All | All | Storage | Storage | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Asset Level | DTU/GTD | Winter | 0
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | Asset Capacity + (Flexible Site Demad) Fixed Reference
All | All | Storage | Storage | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.54
All | All | Heat Pump | Heat Pump | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.54
All | All | EV Charger DSR | EV Charger DSR | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.54
All | All | Storage Heater | Storage Heater | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.54
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | Domestic | Point of Connection | DTU/GTD | Winter | 0.54
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Asset Level | DTD/GTU | Summer | 0
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Asset Level | DTD/GTU | Summer | 0
All | All | Storage | Storage | HV Zone | I&C | Asset Level | DTD/GTU | Summer | 0
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Asset Level | DTD/GTU | Summer | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Asset Level | DTD/GTU | Summer | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Asset Level | DTD/GTU | Summer | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Point of Connection | DTD/GTU | Summer | Nomination
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Point of Connection | DTD/GTU | Summer | Nomination
All | All | Storage | Storage | HV Zone | I&C | Point of Connection | DTD/GTU | Summer | Nomination
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Point of Connection | DTD/GTU | Summer | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Point of Connection | DTD/GTU | Summer | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Point of Connection | DTD/GTU | Summer | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Asset Level | DTD/GTU | Winter | 0
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Asset Level | DTD/GTU | Winter | 0
All | All | Storage | Storage | HV Zone | I&C | Asset Level | DTD/GTU | Winter | 0
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Asset Level | DTD/GTU | Winter | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Asset Level | DTD/GTU | Winter | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Asset Level | DTD/GTU | Winter | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Point of Connection | DTD/GTU | Winter | Nomination
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Point of Connection | DTD/GTU | Winter | Nomination
All | All | Storage | Storage | HV Zone | I&C | Point of Connection | DTD/GTU | Winter | Nomination
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Point of Connection | DTD/GTU | Winter | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Point of Connection | DTD/GTU | Winter | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Point of Connection | DTD/GTU | Winter | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Asset Level | DTU/GTD | Summer | Nomination
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Asset Level | DTU/GTD | Summer | Nomination
All | All | Storage | Storage | HV Zone | I&C | Asset Level | DTU/GTD | Summer | 0
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Asset Level | DTU/GTD | Summer | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Asset Level | DTU/GTD | Summer | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Asset Level | DTU/GTD | Summer | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Point of Connection | DTU/GTD | Summer | Nomination
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Point of Connection | DTU/GTD | Summer | Nomination
All | All | Storage | Storage | HV Zone | I&C | Point of Connection | DTU/GTD | Summer | Nomination
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Point of Connection | DTU/GTD | Summer | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Point of Connection | DTU/GTD | Summer | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Point of Connection | DTU/GTD | Summer | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Asset Level | DTU/GTD | Winter | Nomination
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Asset Level | DTU/GTD | Winter | Nomination
All | All | Storage | Storage | HV Zone | I&C | Asset Level | DTU/GTD | Winter | 0
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Asset Level | DTU/GTD | Winter | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Asset Level | DTU/GTD | Winter | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Asset Level | DTU/GTD | Winter | Nomination
All | All | Schedulable Generation​ | Schedulable Generation​ | HV Zone | I&C | Point of Connection | DTU/GTD | Winter | Nomination
All | All | Intermittent Generation​ | Intermittent Generation​ | HV Zone | I&C | Point of Connection | DTU/GTD | Winter | Nomination
All | All | Storage | Storage | HV Zone | I&C | Point of Connection | DTU/GTD | Winter | Nomination
All | All | Heat Pump | Heat Pump | HV Zone | I&C | Point of Connection | DTU/GTD | Winter | Nomination
All | All | EV Charger DSR | EV Charger DSR | HV Zone | I&C | Point of Connection | DTU/GTD | Winter | Nomination
All | All | Flexible Site Demand | Flexible Site Demand | HV Zone | I&C | Point of Connection | DTU/GTD | Winter | Nomination
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can’t be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can’t be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can’t be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can’t be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can’t be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can’t be used.