## Overview
Baseline Values for National Grid's Electricity Distribution Flexibility Services
Last Reviewed | 2023-01-31
This spreadsheets provides the latest Baseline Values for National Grid's Electricity Distribution Flexibility Services.
Details on how these are calculated are available in the our Guidance for Electricity Distribution Flexibility Service Providers
These are determined by a combination of parameters at the Asset as well as at the Trade.
We reserve the right to update this on a regular basis
If you have any further questions please email
NGED.Flexiblepower@nationalgrid.co.uk

## Baseline Values
|  |  | Product Parameters | Operational Period | Summer (between week -13-38) |  |  | Winter (Between week 39-12)
|  |  |  | Direction | DTD/GTU
|  |  |  | Product | Secure, Dynamic Or Restore | Sustain AM | Sustain PM | Secure, Dynamic Or Restore | Sustain AM | Sustain PM
Asset Parameters
Asset Scale | Asset Type | Energy Source | Demand Type | Metering Loctation
Industrial OR Commercial | Generation AND Storage | NOT Stored Energy | Null | Any | Zero | N/A | N/A | Zero | N/A | N/A
Industrial OR Commercial | Generation AND Storage | Stored Energy | Null | Any | Asset Capacity | N/A | N/A | Asset Capacity | N/A | N/A
Industrial OR Commercial | Demand | Null | Any | Any | Self Nominated | N/A | N/A | Self Nominated | N/A | N/A
Domestic | Demand | Null | Household demand OR Site Demand | Any | 0.56818 | 0.41222 | 0.61222 | 0.78091 | 0.56667 | 0.84111
Domestic | Demand | Null | EV charge point | DER Level | 0.8276 | 0.27704 | 0.89085 | 1.2792 | 0.34452 | 1.3694
Domestic | Demand | Null | Any heat pump | DER Level | 1.0536 | 1.1233 | 1.0311 | 2.8236 | 2.9311 | 2.8433
Domestic | Demand | Null | EV charge point | Point of Connection | 1.3958 | 0.68926 | 1.5031 | 2.0601 | 0.91118 | 2.2105
Domestic | Demand | Null | Any heat pump | Point of Connection | 1.6218 | 1.5356 | 1.6433 | 3.6045 | 3.4978 | 3.6844
Domestic | Demand | Null | EV charge point AND any heat pump | DER Level | 1.8812 | 0.96629 | 1.922 | 4.1029 | 1.2557 | 4.2127
Domestic | Demand | Null | EV charge point AND any heat pump | Point of Connection | 2.4494 | 1.8126 | 2.5342 | 4.8838 | 3.8423 | 5.0538
Domestic | Generation AND Storage | Stored Energy | Null | DER Level | 3.68 | 3.68 | 3.68 | 3.68 | 3.68 | 3.68
Domestic | Generation AND Storage | Stored Energy | Null | Point of Connection | 4.2482 | 4.0922 | 4.2922 | 4.4609 | 4.2467 | 4.5211
Domestic | Generation AND Storage | NOT Stored Energy | Null | DER Level | Zero | Zero | Zero | Zero | Zero | Zero
Domestic | Generation AND Storage | NOT Stored Energy | Null | Point of Connection | 0.56818 | 0.41222 | 0.61222 | 0.78091 | 0.56667 | 0.84111
Domestic | Demand AND Generation AND Storage | Stored Energy | EV charge point | Point of Connection | 5.0758 | 4.3693 | 5.1831 | 5.7401 | 4.5912 | 5.8905
Domestic | Demand AND Generation AND Storage | Stored Energy | Any heat pump | Point of Connection | 5.3018 | 5.2156 | 5.3233 | 7.2845 | 7.1778 | 7.3644
Domestic | Demand AND Generation AND Storage | Stored Energy | EV charge point AND any heat pump | Point of Connection | 6.1294 | 5.4926 | 6.2142 | 8.5638 | 7.5223 | 8.7338
Domestic | Demand AND Generation AND Storage | NOT Stored Energy | EV charge point | Point of Connection | 1.3958 | 0.68926 | 1.5031 | 2.0601 | 0.91118 | 2.2105
Domestic | Demand AND Generation AND Storage | NOT Stored Energy | Any heat pump | Point of Connection | 1.6218 | 1.5356 | 1.6433 | 3.6045 | 3.4978 | 3.6844
Domestic | Demand AND Generation AND Storage | NOT Stored Energy | EV charge point AND any heat pump | Point of Connection | 2.4494 | 1.8126 | 2.5342 | 4.8838 | 3.8423 | 5.0538
Note on B16: Watson, Matt: do we need categories for storage and demand