## Overview
Baseline Values for National Grid's Electricity Distribution Flexibility Services
Last Reviewed | 2025-08-20
This spreadsheets provides the latest Baseline Values for National Grid's Electricity Distribution Flexibility Services.
Details on how these are calculated are available in the our Guidance for Electricity Distribution Flexibility Service Providers
These are determined by a combination of parameters at the Asset as well as at the Trade.
We reserve the right to update this on a regular basis
If you have any further questions please email
NGED.Flexiblepower@nationalgrid.co.uk

## Technology Categories
Demand Response Technology | Domestic Value Key | Industrial & Commercial Value Key | Generation and Storage Technology | Domestic Value Key | Industrial & Commercial Value Key
Air source heat pump | BL_Hpump | BL_SelNom | Advanced fuel (produced via gasification or pyrolysis of biofuel or waste) | BL_DomGen | BL_Zero
Ground source heat pump | BL_Hpump | BL_SelNom | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | BL_DomGen | BL_Zero
Water source heat pump | BL_Hpump | BL_SelNom | Biofuel - Landfill gas | BL_DomGen | BL_Zero
Hybrid Heat pump | BL_Hpump | BL_SelNom | Biofuel - Other | BL_DomGen | BL_Zero
EV Charger DSR | BL_EVCP | BL_SelNom | Biofuel - Sewage gas | BL_DomGen | BL_Zero
Flexible Site Demand | BL_Hhold | BL_SelNom | Biomass | BL_DomGen | BL_Zero
|  |  | Fossil - Brown coal/lignite | BL_DomGen | BL_Zero
|  |  | Fossil - Coal gas | BL_DomGen | BL_Zero
|  |  | Fossil - Gas | BL_DomGen | BL_Zero
|  |  | Fossil - Hard coal | BL_DomGen | BL_Zero
|  |  | Fossil - Oil | BL_DomGen | BL_Zero
|  |  | Fossil - Oil shale | BL_DomGen | BL_Zero
|  |  | Fossil - Other | BL_DomGen | BL_Zero
|  |  | Fossil - Peat | BL_DomGen | BL_Zero
|  |  | Geothermal | BL_DomGen | BL_Zero
|  |  | Hydrogen | BL_DomGen | BL_Zero
|  |  | Nuclear | BL_DomGen | BL_Zero
|  |  | Solar | BL_DomGen | BL_Zero
|  |  | Stored energy (all stored energy irrespective of the original energy source) | BL_DomStore | BL_AsCap
|  |  | Waste | BL_DomGen | BL_Zero
|  |  | Water (flowing head of water) | BL_DomGen | BL_Zero
|  |  | Wind | BL_DomGen | BL_Zero

## Baseline Values
|  | Season | Winter (Between week 39-12) | [8 empty] | Summer (between week 13-38)
|  | Retired Product | Secure, SU_SEP Scheduled Utilisation - Settlement Periods |  | Dynamic |  | Restore | Sustain (AM), SU_SPP Scheduled Utilisation - Specific Periods |  |  | Sustain (PM), SU_SPP Scheduled Utilisation - Specific Periods | Secure, SU_SEP Scheduled Utilisation - Settlement Periods |  | Dynamic |  | Restore | Sustain (AM), SU_SPP Scheduled Utilisation - Specific Periods |  |  | Sustain (PM), SU_SPP Scheduled Utilisation - Specific Periods
| + all products, unless specified otherwise, are DTD/GTU | Current Product + | SU Scheduled Utilisation - HV | SU (DTU/GTD ONLY) Scheduled Utilisation - HV | SAOU_DA Scheduled Availability, Operational Utilisation – Day Ahead Notice | SAOU_DA (DTU/GTD ONLY) Scheduled Availability, Operational Utilisation – Day Ahead Notice | OU_15 Operational Utilisation – 15min Instruction | SU Scheduled Utilisation - LV - Night | SU Scheduled Utilisation - LV - Morning | SU Scheduled Utilisation - LV - Afternoon | SU Scheduled Utilisation - LV - Evening | SU Scheduled Utilisation - HV | SU (DTU/GTD ONLY) Scheduled Utilisation - HV | SAOU_DA Scheduled Availability, Operational Utilisation – Day Ahead Notice | SAOU_DA (DTU/GTD ONLY) Scheduled Availability, Operational Utilisation – Day Ahead Notice | OU_15 Operational Utilisation – 15min Instruction | SU Scheduled Utilisation - LV - Night | SU Scheduled Utilisation - LV - Morning | SU Scheduled Utilisation - LV - Afternoon | SU Scheduled Utilisation - LV - Evening
(kW) |  | Market Gateway Product Code | SU_HV | SU_HV_DTUGTD | SAOU_DA | SAOU_DA_DTUGTD | OU_15 | SU_LV_AM_1 | SU_LV_AM2 | SU_LV_PM1 | SU_LV_PM2 | SU_HV | SU_HV_DTUGTD | SAOU_DA | SAOU_DA_DTUGTD | OU_15 | SU_LV_AM_1 | SU_LV_AM2 | SU_LV_PM1 | SU_LV_PM2
Value Key | Metering Point
BL_Zero | Asset Level |  | Zero | Asset Capacity | Zero | Asset Capacity | Zero | N/A | N/A | N/A | N/A | Zero | Asset Capacity | Zero | Asset Capacity | Zero | N/A | N/A | N/A | N/A
BL_AsCap |  |  | Asset Capacity | Zero | Asset Capacity | Zero | Asset Capacity | N/A | N/A | N/A | N/A | Asset Capacity | Zero | Asset Capacity | Zero | Asset Capacity | N/A | N/A | N/A | N/A
BL_SelNom |  |  | Self Nominated | Self Nominated | Self Nominated | Self Nominated | Self Nominated | N/A | N/A | N/A | N/A | Self Nominated | Self Nominated | Self Nominated | Self Nominated | Self Nominated | N/A | N/A | N/A | N/A
BL_Hhold |  |  | 0.78091 | Zero | 0.78091 | Zero | 0.78091 | 0.23125 | 0.5666 | 0.53111 | 0.84111 | 0.56818 | Zero | 0.56818 | Zero | 0.56818 | 0.1675 | 0.4122 | 0.38666 | 0.61222
BL_EVCP |  |  | 1.2792 | Zero | 1.2792 | Zero | 1.2792 | 0.51595 | 0.3445 | 0.7512 | 1.3694 | 0.8276 | Zero | 0.8276 | Zero | 0.8276 | 0.3247 | 0.277 | 0.5104 | 0.8909
BL_Hpump |  |  | 2.8236 | Zero | 2.8236 | Zero | 2.8236 | 1.9838 | 2.9311 | 2.6667 | 2.8433 | 1.0536 | Zero | 1.0536 | Zero | 1.0536 | 1.1638 | 1.1233 | 1.044 | 1.0311
BL_DomStore |  |  | 3.68 | Zero | 3.68 | Zero | 3.68 | 3.68 | 3.68 | 3.68 | 3.68 | 3.68 | Zero | 3.68 | Zero | 3.68 | 3.68 | 3.68 | 3.68 | 3.68
BL_DomGen |  |  | Zero | Asset Capacity | Zero | Asset Capacity | Zero | Zero | Zero | Zero | Zero | Zero | Asset Capacity | Zero | Asset Capacity | Zero | Zero | Zero | Zero | Zero
BL_Zero | Point of Connection |  | Zero | Asset Capacity | Zero | Asset Capacity | Zero | N/A | N/A | N/A | N/A | Zero | Asset Capacity | Zero | Asset Capacity | Zero | N/A | N/A | N/A | N/A
BL_AsCap |  |  | Asset Capacity | Zero | Asset Capacity | Zero | Asset Capacity | N/A | N/A | N/A | N/A | Asset Capacity | Zero | Asset Capacity | Zero | Asset Capacity | N/A | N/A | N/A | N/A
BL_SelNom |  |  | Self Nominated | Self Nominated | Self Nominated | Self Nominated | Self Nominated | N/A | N/A | N/A | N/A | Self Nominated | Self Nominated | Self Nominated | Self Nominated | Self Nominated | N/A | N/A | N/A | N/A
BL_Hhold |  |  | 0.78091 | 0.54 | 0.78091 | 0.54 | 0.78091 | 0.23125 | 0.5666 | 0.53111 | 0.84111 | 0.56818 | 0.24 | 0.56818 | 0.24 | 0.56818 | 0.1675 | 0.4122 | 0.38666 | 0.61222
BL_EVCP |  |  | 2.0601 | 0.54 | 2.0601 | 0.54 | 2.0601 | 0.7472 | 0.9112 | 1.2824 | 2.2105 | 1.3958 | 0.24 | 1.3958 | 0.24 | 1.3958 | 0.4922 | 0.68926 | 0.89708 | 1.5031
BL_Hpump |  |  | 3.6045 | 0.54 | 3.6045 | 0.54 | 3.6045 | 2.215 | 3.4978 | 3.1978 | 3.6844 | 1.6218 | 0.24 | 1.6218 | 0.24 | 1.6218 | 1.3313 | 1.5356 | 1.4307 | 1.6433
BL_DomStore |  |  | 4.4609 | 0.54 | 4.4609 | 0.54 | 4.4609 | 3.9113 | 4.2467 | 4.2111 | 4.5211 | 4.2482 | 0.24 | 4.2482 | 0.24 | 4.2482 | 3.8475 | 4.0922 | 4.0667 | 4.2922
BL_DomGen |  |  | Zero | Asset Capacity | Zero | Asset Capacity | Zero | Zero | Zero | Zero | Zero | Zero | Asset Capacity | Zero | Asset Capacity | Zero | Zero | Zero | Zero | Zero
Note 1 - Where muliple assets are sited at the same property and metered at the point of connection, the relevant 'BL-Hhold' value should be deducted for each additional asset beyond 1 in order to avoid including the household demand value multiple times
Note 2 - The application of the above values can be either positive or negative dependant on response type as per the table below;
Response Type | Direction | Abbrev' | Baseline Values | Metering readings
Demand | Turn Down | DTD | Negative | Negative
Demand | Turn Up | DTU | Negative | Negative
Generation | Turn Up | GTU | Positive | Positive
Generation | Turn Down | GTD | Positive | Positive