## Notes
This workbook contains information on the outcome of each procurement round by Northern Powergrid for Distribution Flexibility Services
Version | Last updated | Procurement round | Comments
1 | 2023-03-01 | 2022 | We tendered for the Sustain product in 12 zones to defer reinforcement at primary substations. We received bids across all 12 zones and from 3 bidders. We have placed one contract for a generation turn up service
2 | 2023-07-10 | 2022 | Re-Issued after contractual agreement for a second service awarded in 2022 tender round

## 2022
DNO Party | Zone | Counterparty | Technology | Product | Capacity Procured, peak (MW) | For Sustain only, volume procured, max (MWh) | Contract Length | Payment Structure | Availability Price (£/MW/day) | Availability Price (£/MW/h) | Utilisation Price (£/MWh)
Northern Powergrid (Yorkshire) Plc | Kirkburn 66/11kV | GWE Biogas Ltd | Biofuel - Biogas from anaerobic digestion (excluding landfill & sewage) | Sustain | 1.4 | 1714 | 2 years | Utilisation only | n/a | n/a | 54
Northern Powergrid (Yorkshire) Plc | Southgate 33/11kV | Octopus Energy Ltd | Demand | Sustain | 0.04 | 17 | 2 years | Utilisation only | n/a | n/a | 300